- Accessories for toilet, shower, and bath by ASI.
The section includes specifications for commonly encountered accessories with typical options. Special types, such as materials other than stainless steel, chrome, and baked enamel, or modular designed accessories, will need to be added by editing or by listing by model name in a schedule.

Electrically operated paper towel dispensers, electric hand dryers, and diaper changing stations are also included in this section.                                                                               

SECTION 10 2800 (10800) -- TOILET, BATH, AND LAUNDRY ACCESSORIES - ASI, Copyright 2021, ASI.

- Section 102800 
Toilet, Bath, and Laundry Accessories - ASI

  - PART 1  GENERAL

    - SECTION INCLUDES

      - Baby changing stations.

- List sections that are referenced directly in this section; indicate specific items.  Do not list sections that specify installation of products included in this section;  include a cross-reference statement in Part 3  (Formerly these cross-references were included here under article titled "Products Supplied But Not Installed Under This Section.")  Do not list sections that specify products for which installation is specified in this section;  include a cross-reference statement in Part 2.  (Formerly these cross-references were included here under article titled "Products Installed But Not Supplied Under This Section.

    - RELATED REQUIREMENTS

- List reference standards that are included within the text of this section.  Use the full title as listed in the reference standard itself.  Include as author the full name of the sponsoring organization, unless the acronym is an adequate identifier (ASTM, ANSI, NEMA, etc.).  Include the date of publication if consistent with global decision on publication dates.

    - REFERENCE STANDARDS

- Search online at www.ada.gov for a free copy of the 2010 ADA Standards for Accessible Design published by the U. S. Department of Justice (DOJ).

      - ADA Standards - 2010 ADA Standards for Accessible Design; 2010.

- Visit IHS Standards Store for free information or to purchase a copy of this document.

      - ASTM F2285 - Standard Consumer Safety Performance Specification for Diaper Changing Tables for Commercial Use; 2022.

- Visit IHS Standards Store for free information or to purchase a copy of this document.

      - ICC A117.1 - Accessible and Usable Buildings and Facilities; 2017.

- Do not request submittals if drawings sufficiently describe the products of this section or if proprietary specifying techniques are used.  The review of submittals increases the possibility of unintended variations to drawings, thereby increasing the design professional's liability.  See Section 01 3000 (01300) - Administrative Requirements for definitions of which types of submittals are for review, for information, and for project record.

    - SUBMITTALS

      - See Section 013000 - Administrative Requirements for submittal procedures.

- When manufacturer's instructions for specific installation requirements are referenced in PART 3 EXECUTION, include the following request for submittal of those instructions.  Edit the PART 3 statements to avoid conflict with manufacturer's instructions.

      - Manufacturer's Installation Instructions:  Indicate special procedures and conditions requiring special attention.

  - PART 2  PRODUCTS

    - Manufacturers

- ASI (American Specialties, Inc.) - Commercial and Residential Toilet, Shower, and Bath Accessories
ASI provides a full range of shower and tub accessories that show attention to details to address the safety and comfort needs of users. All items-including shower seats and benches, tub seats, soap dishes, and shower curtain rods-are designed to ensure secure installation and easy use.

American Specialties, Inc. is the world’s leading manufacturer of commercial washroom accessories, offering the largest product breadth in the industry with over 3000 accessories and seven curated collections that are fully integrated to work together seamlessly.

Only ASI Group designs, engineers, and manufactures fully integrated washroom accessories, partitions, lockers, and visual display products from one source. The ASI Group is known for innovative products, speed to market, and the widest offering of materials and products in the industry.

Contact Information:
American Specialties, Inc.
441 Saw Mill River Road
Yonkers, NY 10701
United States

Phone: 914-476-9000

Contact for Design Professional

Online CEU Courses

www.americanspecialties.com

Plant Location: Yonkers, NY

      - American Specialties, Inc:  www.americanspecialties.com/#sle.

      - Substitutions:  See Section 016000 - Product Requirements.

- When using product names with descriptive accessory item specifications, edit the description to eliminate conflicts with the actual product characteristics.

    - Baby Changing Stations

- Visit IHS Standards Store for free information or to purchase a copy of this document.

      - Baby Changing Station:  Wall-mounted folding baby changing station for use in commercial toilet facilities, meeting or exceeding ASTM F2285.

- The paragraph below is optional text

        - Material:  As indicated in product listing.

        - Finish:  Matte black.

- The paragraph below is optional text

        - Mounting:  As indicated in product listing.

        - Minimum Rated Load:  250 lb (113.4 kg).

        - Products:

          - Model 9012 - Baby Changing Station - Horizontal - Plastic - Surface-mounted.

          - Model 9013 - Recessed - Roval Collection - Baby Changing Station - Horizontal - Stainless Steel.

          - Model 9014 - Baby Changing Station - Horizontal - Plastic - Surface-mounted.

- The paragraph below is optional text

          - Model 9015 - Baby Changing Station - Vertical - Plastic - Surface-mounted.

          - Model 9016 - Baby Changing Station, Bed Liner Dispenser - Recessed.

          - Model 9018 - Satin Stainless Steel Finish - Baby Changing Station - Horizontal - Recessed.

          - Model 9026-41 - Baby Changing Station - Horizontal - Plastic - Stainless Steel - Surface-mounted.

          - Substitutions:  016000 - Product Requirements.

    - Cabinets

      - Multipurpose Soap/Towel Dispenser Cabinets:

        - Products:

          - Model 0430 - Recessed - Traditional Collection - All Purpose Cabinet - Shelf, Mirror, Towel and Liquid Soap Dispenser.

          - Model 0436 - Traditional Collection - All Purpose Cabinet - Shelf and Towel Dispenser - Recessed Behind Mirror.

- The material specifications in this article will only be used if the accessory item descriptions below or the manufacturers' model numbers listed do not fully define the quality level.  For instance, it does little good to specify that stainless steel is to be ASTM A66, Type 304 if the specified manufacturer's accessories are made of Type 316.  On the other hand, an open descriptive specification may need further quality definition for evaluation of proposed manufacturers' products.

    - Materials

      - Accessories - General:  Shop assembled, free of dents and scratches and packaged complete with anchors and fittings, steel anchor plates, adapters, and anchor components for installation.

- Visit IHS Standards Store for free information or to purchase a copy of this document.

      - Zinc Alloy:  Die cast,  ASTM B86.

- Visit IHS Standards Store for free information or to purchase a copy of these documents:  ASTM C1036, ASTM C1053.

      - Mirror Glass:  Annealed float glass, ASTM C1036 Type I, Class 1, Quality Q2, with silvering, protective and physical characteristics complying with ASTM C1503.

- The paragraph below is optional text

    - Fabrication

      - Profile Collection:

- Select and edit one or more of the following paragraphs based on materials and finishes of accessories selected.  If a proprietary specification fully covers the required finishes, inclusion of this article is not required.

    - Finishes

- The paragraph below is optional text

      - Shop Primed Ferrous Metals:  Pretreat and clean, spray apply one coat primer and bake.

- The paragraph below is optional text

      - Back paint components where contact is made with building finishes to prevent electrolysis.

  - PART 3  EXECUTION

    - EXAMINATION

      - Verify existing conditions before starting work.

      - Verify exact location of accessories for installation.

      - Verify that field measurements are as indicated on drawings.

- The proper placement of concealed anchor devices, blocking, or in-wall framing is especially necessary for grab bars, towel bars, hooks, and other accessories that might have to support loads, whether intended to or not.  Ensure drawing details are coordinated with specification statements in this article.

      - See Section _____ for installation of blocking, reinforcing plates, and concealed anchors in walls and ceilings.

    - PREPARATION

      - Deliver inserts and rough-in frames to site for timely installation.

      - Provide templates and rough-in measurements as required.

    - INSTALLATION

      - Install accessories in accordance with manufacturers' instructions in locations indicated on drawings.

- The paragraph below is optional text

      - Mounting Heights:  As required by accessibility regulations, unless otherwise indicated.

        - Mirrors:  [_____] inch ([_____] mm), measured from floor to bottom of mirrored surface.

- Mounting heights vary from manufacturer to manufacturer, depending on the location of the air distribution nozzle relative to the bottom of the unit.  However, the distance from the nozzle to the floor remains about the same.  In no case should the nozzle or operating mechanism be mounted higher than ADA requirements.

        - Electric Hand Dryers:  Measured from floor to bottom of nozzle:

          - Men:  44 inches (1110 mm).

          - Women:  42 inches (1060 mm).

          - Teenager:  41 inches (1035 mm).

          - Handicap:  36 inches (910 mm).

        - Other Accessories:  As indicated on drawings.

    - PROTECTION

      - Protect installed accessories from damage due to subsequent construction operations.

- END OF SECTION